{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":10,"n_cols":6,"rows_kept":10,"merged":[[0,0,0,5],[2,5,9,5]],"flags":["formulas_cached_only"]}
["淖尔壕煤矿高低压配电柜设备采购订货目录"]
["序号","设备名称","规格型号","单位","数量","备注"]
[1,"高压配电柜","KYN28A-12","台",32,"详见招标文件技术规格书和设备订货图纸"]
[2,"低压配电柜","GGD-380","台",33]
[3,"低压配电柜","GCS系列","台",20]
[4,"连续可调接地电阻柜","KDC1(G)-660","台",2]
[5,"柜式变压器","SCB10-500/10/0.4","台",2]
[6,"柜式变压器","SCB10-1250/10/0.69","台",2]
[7,"柜式变压器","SG10-500/10/0.4","台",2]
[8,"柜式变压器","SCB10-200/10/0.4","台",2]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}